## Sheet1
DI Key | D1 VAV Value | D2 VAV Value | D1 FPB Value | D2 FPB Value | B1 FH Value | B2 FH Value | D1 FH Value | D2 FH Value | D3 FH Value | D1 CENFUNC Value | D2 CENFUNC Value | D1 WSHP Value | D2 WSHP Value | D1 FCU Value | D2 FCU Value | B1 LAB Value | B2 LAB Value | D1 LAB Value | D2 LAB Value | D3 LAB Value
None | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
Presence Det. | h | h | h | h | S | S | S | S | S | S | S | h | h | h | h | S | S | h | h | h
Window Contact | i | i | i | i | S | S | S | S | S | S | S | i | i | i | i | S | S | i | i | i
Htg Coil Overtemp | j | j | j | j | S | S | S | S | S | S | S | j | j | j | j | S | S | j | j | j
Radiator Overtemp | k | k | k | k | S | S | S | S | S | S | S | k | k | k | k | S | S | k | k | k
Condensation Det | l | l | l | l | S | S | S | S | S | S | S | l | l | l | l | S | S | l | l | l
Clg Coil Condensation | m | m | m | m | S | S | S | S | S | S | S | m | m | m | m | S | S | m | m | m
Blinds Collision | n | n | n | n | S | S | S | S | S | S | S | n | n | n | n | S | S | n | n | n
BI General | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | p | p | p
Fan Status | S | S | q | q | S | S | S | S | S | S | S | q | q | q | q | S | S | S | S | S
Op. Mode Switch | S | S | S | S | S | S | S | S | S | l | l | S | S | S | S | S | S | S | S | S
Rain Det. | S | S | S | S | S | S | S | S | S | S | m | S | S | S | S | S | S | S | S | S
Emer Det. Shade | S | S | S | S | S | S | S | S | S | n | S | S | S | S | S | S | S | S | S | S
Emer Det. Light | S | S | S | S | S | S | S | S | S | S | o | S | S | S | S | S | S | S | S | S
Fire Detec | S | S | S | S | S | S | S | S | S | p | p | S | S | S | S | S | S | S | S | S
Smoke Exhaust Req | S | S | S | S | S | S | S | S | S | q | q | S | S | S | S | S | S | S | S | S
Smoke Supply Req | S | S | S | S | S | S | S | S | S | r | r | S | S | S | S | S | S | S | S | S
Heat Pump Avail. | S | S | S | S | S | S | S | S | S | t | S | S | S | S | S | S | S | S | S | S
DX Evap Fault | S | S | S | S | S | S | S | S | S | S | w | S | S | w | w | S | S | S | S | S
Frost Protection | S | S | S | S | S | S | S | S | S | S | y | y | y | y | y | S | S | S | S | S
Heat Pump Fault | S | S | S | S | S | S | S | S | S | S | 1 | 1 | 1 | S | S | S | S | S | S | S
Heat Pump Src Sta | S | S | S | S | S | S | S | S | S | S | 2 | 2 | 2 | S | S | S | S | S | S | S
Heat Pump In Avail. | S | S | S | S | S | S | S | S | S | S | 3 | 3 | 3 | S | S | S | S | S | S | S
Duct Humid Alm | S | S | S | S | S | S | S | S | S | S | Ô | S | S | S | S | S | S | Ô | Ô | Ô
Air Flow Det. | S | S | S | S | S | S | S | S | S | S | ô | S | S | S | S | S | S | ô | ô | ô
Humidifier Fault | S | S | S | S | S | S | S | S | S | S | Ư | S | S | S | S | S | S | Ư | Ư | Ư
FH Fire Det | S | S | S | S | S | S | € | € | € | S | € | S | S | S | S | S | S | S | S | S
FH Purge Switch | S | S | S | S | S | S | £ | £ | £ | S | £ | S | S | S | S | S | S | S | S | S
FH Sash Alert | S | S | S | S | S | S | ¥ | ¥ | ¥ | S | ¥ | S | S | S | S | S | S | S | S | S
FH Sash Switch | S | S | S | S | S | S | ₩ | ₩ | ₩ | S | ₩ | S | S | S | S | S | S | S | S | S
FH jet fan | S | S | S | S | S | S | ฿ | ฿ | ฿ | S | ฿ | S | S | S | S | S | S | S | S | S
FH Sash Pos (Ohm) | S | S | S | S | ° | ° | S | S | S | S | S | S | S | S | S | S | S | S | S | S