## Sheet1
ZTEN Key | Y10 LAB Value | Y20 LAB Value | Y30 T17C LAB Value | Y30 T17CX LAB Value | Y40 T17C LAB Value | Y40 T17CX LAB Value
None | X | X | X | X | X | X
Supply Damper A | A | S | A | A | S | S
Exhuast Damper A | S | B | S | S | B | B
Chw Water Valve | C | C | C | C | C | C
Chw Beam Valve | D | D | D | D | D | D
Dual Duct 1/2 | S | S | S | S | S | S
Htg/Clg Coil 2-Pipe | S | S | S | S | S | S
Htg/Clg Coil 4-Pipe | G | G | G | G | G | G
Htg Water Coil | H | H | H | H | H | H
Rad Ceiling Chw | I | I | I | I | I | I
Rad Htg/Chw 2-Pipe | J | J | J | J | J | J
Rad Htg/Chw 4-Pipe | K | K | K | K | K | K
Rad Ceiling Htg | L | L | L | L | L | L
Chw Beam Passive | M | M | M | M | M | M
Htg/Chw Beam 2-pipe | N | N | N | N | N | N
Htg/Chw Beam 4-pipe | O | O | O | O | O | O
Rad Fin Tube Water | P | P | P | P | P | P
Rad Fin Tube Electric | Q | Q | Q | Q | Q | Q
Air Volume Stpt | S | S | S | S | S | S
Windows | S | S | S | S | S | S
General 0-10 V | S | S | S | S | S | S
Htg Electric Coil | T | T | T | T | T | T
Exh Air Vol Stpt | S | S | S | S | S | S
Fan Speed | S | S | S | S | S | S
Fumehood Jet Fan | S | S | S | S | S | S
Supply Damper B | Y | S | S | Y | S | S
Exhuast Damper B | S | Z | S | S | S | Z
Humidifier | a | a | a | a | a | a
Outside Damper | S | S | S | S | S | S
Heat Pump | S | S | S | S | S | S
Water Flow Stpt | S | S | S | S | S | S