## Sheet1
ZTEN Key | Y10 T12 VAV Value | Y10 T18 VAV Value | Y20 T12 VAV Value | Y20 T18 VAV Value | Y30 VAV Value | Y40 VAV Value | Y10 T12 FPB Value | Y20 T12 FPB Value | Y10 T18 FPB Value | Y20 T18 FPB Value | Y30 FPB Value | Y40 FPB Value | Y10 WSHP Value | Y20 WSHP Value | Y30 WSHP Value | Y40 WSHP Value | Y10 FCU Value | Y20 FCU Value | Y30 FCU Value | Y40 FCU Value | Y10 FH Value | Y20 FH Value | Y30 FH Value | Y40 FH Value | Y10 CENFUNC Value | Y20 CENFUNC Value | Y30 CENFUNC Value | Y40 CENFUNC Value
None | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
Supply Damper | A | A | A | S | S | S | A | A | A | A | A | A | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Exhuast Damper | B | B | B | B | B | B | S | B | B | B | B | B | S | S | S | S | S | S | S | S | B | S | S | S | S | S | S | S
Chw Water Valve | C | C | C | C | S | S | C | C | C | C | S | S | S | S | S | S | S | C | S | S | S | S | S | S | S | S | S | S
Chw Beam Valve | D | D | D | D | D | D | S | S | D | D | S | S | S | S | S | S | S | D | S | S | S | S | S | S | S | S | S | S
Dual Duct 1/2 | E | E | E | E | E | E | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Htg/Clg Coil 2-Pipe | F | S | F | F | F | S | F | F | S | F | F | S | S | S | S | S | S | F | F | S | S | S | S | S | S | S | S | S
Htg/Clg Coil 4-Pipe | G | G | G | G | G | G | G | G | G | G | G | G | S | S | S | S | G | G | G | G | S | S | S | S | S | S | S | S
Htg Water Coil | H | S | H | H | H | S | H | H | S | H | H | S | S | S | H | S | S | S | H | S | S | S | S | S | S | S | S | S
Rad Ceiling Chw | I | S | I | I | S | I | I | I | S | I | S | I | S | I | S | I | S | I | S | I | S | S | S | S | S | S | S | S
Rad Htg/Chw 2-Pipe | J | S | J | J | S | J | J | J | S | J | S | J | S | J | S | J | S | J | S | J | S | S | S | S | S | S | S | S
Rad Htg/Chw 4-Pipe | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K | S | S | S | S | S | S | S | S
Rad Ceiling Htg | L | S | L | L | S | L | L | L | S | L | S | L | S | L | S | L | S | L | S | L | S | S | S | S | S | S | S | S
Chw Beam Passive | M | S | M | M | S | M | M | M | S | M | S | M | S | M | S | M | S | M | S | M | S | S | S | S | S | S | S | S
Htg/Chw Beam 2-pipe | N | S | N | N | S | N | N | N | S | N | S | N | S | N | S | N | S | N | S | N | S | S | S | S | S | S | S | S
Htg/Chw Beam 4-pipe | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | S | S | S | S | S | S | S | S
Rad Fin Tube Water | P | S | P | P | S | P | P | P | S | P | S | P | S | P | S | P | S | P | S | P | S | S | S | S | S | S | S | S
Rad Fin Tube Electric | Q | S | Q | Q | S | Q | Q | Q | S | Q | S | Q | S | Q | S | Q | S | Q | S | Q | S | S | S | S | S | S | S | S
Air Volume Stpt | R | R | R | S | S | S | R | R | R | R | R | R | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Windows | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
General 0-10 V | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Htg Electric Coil | T | S | T | T | T | S | T | T | S | T | T | S | S | S | T | S | S | S | T | S | S | S | S | S | S | S | S | S
Exh Air Vol Stpt | U | U | U | U | U | U | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Fan Speed | S | S | S | S | S | S | V | S | V | S | S | S | V | S | S | S | V | S | S | S | S | S | S | S | S | S | S | S
Fumehood Jet Fan | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | W | W | W | W | S | S | S | S
Humidifier | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S
Outside Damper | S | S | S | S | S | S | S | S | S | S | S | S | b | b | b | b | b | b | b | b | S | S | S | S | S | S | S | S
Heat Pump | S | S | S | S | S | S | S | S | S | S | S | S | S | c | c | S | S | S | S | S | S | S | S | S | S | S | S | S
Water Flow Stpt | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | d | S | S | S | S | S | S | S | S | S | S